Shut-down checklist for vacations (Sample)

Department:

Person/s responsible:

Date to be completed on:

| Location | Equipment | Person responsible | Done |
| --- | --- | --- | --- |
| Individual Offices | Turn off and unplug ALL Fans | A. Jones |  |
|  | Turn off and unplug ALL Heaters | A. Jones |  |
|  | Turn off and unplug ALL Air-conditioning | A. Jones |  |
|  | Set all radiators with thermostats down to the anti-freeze setting | A. Jones |  |
|  | Turn off and unplug computers, monitors, scanners, etc. with the exception of servers. | Computer user, A. Jones to check |  |
|  | Turn off and unplug ALL Photocopiers | A. Jones |  |
|  | Turn off and unplug ALL Printers | A. Jones |  |
|  | Turn off and unplug ALL Phone Chargers | Charger user |  |
|  | Turn off ALL interior lights in unoccupied areas. | A. Jones |  |
|  | Close all windows and blinds | A. Jones |  |
| Corridors/ Entrance lobby | Set all radiators with thermostats down to the anti-freeze setting | B.Smith |  |
|  | Turn off ALL interior lights in unoccupied areas. | B.Smith |  |
|  | Close all windows and blinds | B.Smith |  |
|  | Turn off and unplug TVs, VCRs and any other non-essential electronic equipment | B.Smith |  |
|  | Turn off and unplug ALL water coolers | B.Smith |  |
|  | Turn off and unplug ALL vending machines containing non-perishables | B.Smith |  |
| Stock and Photocopier rooms | Set all radiators with thermostats down to the anti-freeze setting | C. Thomas |  |
|  | Turn off and unplug ALL Photocopiers | C. Thomas |  |
|  | Turn off and unplug ALL Printers | C. Thomas |  |
|  | Turn off ALL interior lights in unoccupied areas. | C. Thomas |  |
|  | Close all windows and blinds | C. Thomas |  |
| Kitchen/Staff room | Turn off ALL interior lights in unoccupied areas. | D. Williams |  |
|  | Turn off and unplug Microwave, Kettle, automatic water heater, water cooler etc | D. Williams |  |
|  | Consolidate stock in fridges/freezers | D. Williams |  |
| Laboratories | Turn off and unplug ALL laboratory equipment, unless laboratory staff advise otherwise | G. Evans |  |
|  | Close the sash and turn down ALL Fume Cupboards | G. Evans |  |
|  | Turn off and unplug ALL Fans | G. Evans |  |
|  | Turn off and unplug ALL Heaters | G. Evans |  |
|  | Turn off and unplug ALL Air-conditioning | G. Evans |  |
|  | Set all radiators with thermostats down to the anti-freeze setting | G. Evans |  |
|  | Turn off ALL interior lights in unoccupied areas. | G. Evans |  |
|  | Close all windows and blinds | G. Evans |  |

Key holders and contact numbers:

Emergency Contact and Important phone numbers

Other special requirements when closing down over bank holidays and Christmas/Easter considered:

- Check and report any leakage of water fixtures.

- Managers to inform Directors/senior managers if attending work so appropriate reporting systems put in place to ensure safety

- Managers make sure have access to staff contact numbers and next of kin numbers

- Final sweep of building check no one on premises and Security alarm is switched on and active on closing down premises

- Empty all bins and ensure any hazardous materials are appropriately stored

- Test Check fire alarm systems all in working order

- External storage, garages, parking facilities are locked and secure

- Check server rooms and make sure the air con is working and left on and all servers have BLUE light showing – usual inspection.

Notes/Observations: